## Slide 1: The effect of temporal jitter on single photon indistinguishability
Andrea Maccarinelli 5/16/2025

## Slide 2
Daily Supervisor:
Mio Poortvliet
Main Supervisor: Dr. Wolfgang Löffler
Second Supervisor: Evert van Nieuwenburg

## Slide 3: What is the main goal of my project ?
Boost Single photon indistinguishability
Study the features of the excitation pulses

## Slide 4: What is the Jitter of a Signal ?
Rev. Sci. Instrum. 95, 054703 (2024); doi: 10.1063/5.0191289
https://www.testandmeasurementtips.com/wp-content/uploads/2017/08/jitter-waveform.jpg
Random Source
Systemic Source

## Slide 5: Implementing the Study in Our Setup
CW Laser
EOM
EOM
Clock
Pulse compressor
FPGA
Sets the delay
Sends trigger signal
Quantum Dot

## Slide 6: Current Focus – Part I: Hanbury Brown–Twiss on Excitation Pulses
CW Laser
EOM
EOM
Clock
Pulse compressor
FPGA
Beam Splitter
SNSPD
Timestamps
Start/Stop

## Slide 7: From Timestamps to Coincidences Histograms
.bin file
Index
Timestamp
Timestamp * Reference clock
Relative time between Start & Stop events in ps
Pulse Train From one detector
Detector 1
Detector 2

## Slide 8: Seeking Normalization of the counts to achieve g2()
Ingredients :

## Slide 9: Fitting the peaks in g2()
What we need ?
Gaussian fit of every peak
Periodic Behavior of g2()
Periodic Boundaries
SUSPECT NO.1
Offset Correction
Saving Dataframes of every fit into .CSV files

## Slide 10: How the pulse length affects the FWHM of the peaks of the g2()?
65.1ps
55.5ps
49.8ps
41.4ps
37.2ps
Reduction of the optical length of the pulses

## Slide 11: Can We Detect Broadening in g2() Peaks via FWHM Variations?
What do I expect ?
Broadening of the Widths with the increase of the distance
What do I get ?
Slight absolute linear increase
Apparently more evident for shorter pulses
65.1ps
55.5ps
49.8ps
41.4ps
37.2ps
Pulse Length

## Slide 12: Verifying the stability of the FPGA clock
65.1ps
55.5ps
49.8ps
41.4ps
37.2ps
Pulse Length
What do we expect ?
Roughly constant behavior
Extraction of Timestamps already implements this
Not messing things up
BUT…
Not yet clear behavior near zero

## Slide 13: What’s next ?
Obtain the Detector Response function
Allan Variance study on FPGA’s reference clock
Study the impact on Single Photon Indistinguishability

## Slide 14
Any Questions ?

## Slide 15: How is carried out the Error Propagation ?